## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Construction-III(AE303) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Raft foundation. |  |
| b) | What is a grillage foundation? |  |
| c) | Why are expansion joints important in buildings? |  |
| d) | What is the relationship between the number of steps and riser height to the floor to floor height of a building? |  |
| e) | Name various types of joints used in the construction of a timber window. |  |
| f) | What is a composite roof truss? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between the spread foundation of a column & spread foundation of a wall with sketches. |  |
| b) | Explain with a sketch, the method of setting out of foundation trenches. |  |
| c) | Explain the process of fixing of grillwork in a window opening. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat labelled cross section showing the reinforcement across a two way slab of a framed RCC building. |  |
| b) | Explain the following process of concreting on site: - Compaction of concrete ii) Curing |  |
| c) | Explain the various components of reinforcement details & cover requirements for a RCC column in a framed building. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms used in a staircase: - Baluster ii) soffit iii) Headroom. |  |
| b) | Explain any two types of stone staircase. |  |
| c) | Explain the construction of a simple timber staircase. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat labelled diagram, the fixing of a metal window in a wall. |  |
| b) | Explain the method of fixing of a timber window in a wall. |  |
| c) | Explain with a neat diagram the construction of a simple timber door. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat labelled diagram across a single lean-to-roof of timber. |  |
| b) | Differentiate between single roof, double roof & trussed roof. |  |
| c) | Write short notes on: - Ridge ii) Eaves iii) Wall plate. |  |

***********