## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electronic & Instrumentation Engg.

### Subject: Basic Instrumentation-II(4216)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the modes of operation of piezoelectric crystal? Draw equivalent circuit of the same. |  |
| b) | Explain construction and working principle of any one electrical tachometer. |  |
| c) | Explain amplitude and frequency modulation. |  |
| d) | Explain optical and hydraulic type of mechanical amplifiers. |  |
| e) | Explain cathode ray oscilloscope. |  |
| f) | Define i) Accuracy ii) Resolution iii) Drift. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail any one application of fiber optic transducer. |  |
| b) | Explain construction and working principle of absolute encoder. |  |
| c) | Explain construction and working principle of moving coil type transducer. Compare it with moving magnet type transducer. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write note on any one: i) Charge amplifier and Rack & Pinion gear ii) Filters |  |
| b) | Explain the operation of Wheatstone Bridge. Obtain its balance equation and compare its performance with AC & DC excitation. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write notes on any two: - Digital to Analog converters - F to V Converters - Operational Amplifier |  |
| b) | Explain V to I and I to V converters. |  |
| Q.No.5. | Explain the construction and working of any two of the following with suitable diagrams and typical specifications: - Pen recorders - X-Y Plotter - Ultra Violet recorders | (12) |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define and explain the significance of following terms in measurement system: - Sensitivity ii) Threshold iii) Impedance matching |  |
| b) | Write notes on: i) Grounding ii) Shielding. |  |
| c) | Explain different types of errors and coupling techniques as a remedial action. |  |

***********