## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./EE/EC/E&EE/EI

Subject: Electronic Instrumentation(EN404) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give three points of difference between active and passive transducers. |  |
| b) | What is seeback effect? |  |
| c) | What is the principle of electromagnetic flow meter? |  |
| d) | What is the need for signal conditioning? Give two points. |  |
| e) | List three application areas of Data Acquisition System. |  |
| f) | What is the principle of piezoelectric accelerometer? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram of an instrumentation system. |  |
| b) | Give six characteristics of an ideal transducer. |  |
| c) | Explain speed measurement using magnetic pick up method. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain bonded type strain gauge with the help of neat diagram. |  |
| b) | Explain the operation of LVDT with the help of neat diagram. |  |
| c) | Draw the diagram of photovoltaic cell & explain its working. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain angular displacement measurement using Resistive transducer. |  |
| b) | Explain vibration measurement using piezoelectric accelerometer. |  |
| c) | Explain flow measurement using turbine meter. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram of strip chart recorder. |  |
| b) | Explain the block diagram of X-Y plotter. |  |
| c) | Explain the circuit of Instrumentation amplifier using op-Amps. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Data Acquisition System |  |
| b) | Process Control System |  |
| c) | Application areas of SCADA system |  |
| d) | Bridge circuit for strain gauge |  |

***********