## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: D.C. Machines(4109) [Old]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the function of a commutator in a d.c. machine for motoring and generating action. |  |
| b) | Explain the meaning of the following terms used in d.c. machine i) Front pitch ii) Back pitch iii) Commutator pitch. |  |
| c) | Give the classification of D.C. generators with respect to the excitation system. |  |
| d) | Explain the constructional features of d.c. welding generator. |  |
| e) | Explain the necessary conditions for parallel operation of two d.c. shunt generators. |  |
| f) | List down the factors determining the speed of a d.c. motor. |  |
| g) | Explain the principle of operation of a d.c. motor. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the working of a simple loop generator. |  |
| b) | With a neat sketch, explain the working of a Bipolar welding generator. |  |
| c) | Explain the parallel operation of two d.c. compound generators. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Derive the equation for induced emf of a d.c. generator. Which quantities in the equation are constant? |  |
| b) | Discuss the process of voltages build up in shunt generator. What conditions must be fulfilled for voltage build up? |  |
| c) | Explain the internal & external characteristics of d.c. series generator. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meat by torque of a motor? On what factors does the torque of a d.c. motor depends? |  |
| b) | What are the different methods of speed control of d.c. series motor? Explain any one method with connection diagram. |  |
| c) | Discuss the applications of d.c. shunt, series and compound motor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of a 4 point starter of d.c. motor. Explain the function of overload release and no-volt release coils. |  |
| b) | Explain in detail the various losses that take place in d.c. motor. Which of these losses are constant? |  |
| c) | Draw and explain torque speed characteristics of d.c. shunt and series motor. | …..2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Distinguish between emf and resistance commutation. |  |
| b) | What is armature reaction? Explain the effects of armature reaction on the performance of d.c. machine. |  |
| c) | Draw the connection diagram of self excited d.c. series, shunt and compound generator. Give their voltage equation. |  |

***********