## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Civil Engg./CT

Subject: Construction-II(4009) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Enlist the basic functions and requirements of foundation. |  |
| b) | Define the term ‘plinth beams’. Where they are used? |  |
| c) | State the difference between bearing piles and friction piles. |  |
| d) | What is ‘pre-stressed concrete construction’? |  |
| e) | What is a caisson? How it differs from coffer dam? |  |
| f) | Mention the specific use of following: - Belt conveyor ii) Vibrator iii) Grader iv) Batching plant. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch, the method of providing timbering for a deep trench in loose soil. |  |
| b) | Draw a neat sketch of any one type of foundation provided in ‘black cotton soil’. |  |
| c) | What is a ‘combined footing’? With the aid of a neat sketch, explain the construction. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of neat sketch explain grillage foundation. |  |
| b) | Explain in brief how cast-in-situ piles are constructed. |  |
| c) | Explain in detail about cased and uncased piles. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of pneumatic caissons and explain. |  |
| b) | Explain the causes and ill effects of dampness. |  |
| c) | What are the acoustical defects? Mention the remedial measures. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch the methods of waterproofing of flat roof slabs. |  |
| b) | Enlist different types of earth moving equipments and explain any one. |  |
| c) | What is under pinning? Explain any one method. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Compressor and pneumatic tools |  |
| b) | Foundation on made-up grounds |  |
| c) | Ventilation and lighting of basement |  |
| d) | Pre-stressing jacks |  |
| e) | Partition walls |  |

***********