## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(AE306) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 6x2.5=15 |
| --- | --- | --- |
| a) | List three materials used in pipes for water supply. |  |
| b) | What is a Scour valve? |  |
| c) | State the gradient and their corresponding sizes of pipes for drainage and sewer lines. |  |
| d) | What is a grease trap? |  |
| e) | State the function of a distribution board. |  |
| f) | Briefly explain the term ‘earthing’. |  |
| Q.No.2. | Answer any one of the following Questions: | (12) |
| a) | Prepare a layout for water supply to a residential house plan as shown in fig.1 using appropriate signs and symbols. |  |
| b) | Write an elaborate note on methods of hot water supply to a residential building. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write an elaborate note on pipes that form part of water distribution network system in a town. |  |
| b) | Write a brief note on components of domestic water supply system. |  |
| c) | What are the different sources of water supply? Elaborate. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Elaborate on different methods of wiring for domestic electrification. |  |
| b) | Write a note on procedure to be followed for electrical installation in a building. |  |
| c) | Write a note on electrical fittings and fixtures used in typical modern bungalow. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note supplemented by appropriate sketches on ablutionary fixtures in domestic drainage system. |  |
| b) | State the requirements and principles that govern the design of building drainage. |  |
| c) | Write a note on ‘Testing of Drains & Pipes’. |  |
| Q.No.6. | Answer any one of the following Questions: | (12) |
| a) | Draw a plan and cross section through the septic tank and soak pit. Assume suitable data. |  |
| b) | Draw a drainage layout upto septic tank in the given plan (fig.1). Assume appropriate data. | ……2/- |