## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is a CRO? |  |
| b) | Describe in brief about Recording Electrodes. |  |
| c) | Explain the importance of computers in clinical laboratory. |  |
| d) | Which are the different methods of cell counting? |  |
| e) | Describe Respiratory Volumes. |  |
| f) | What is a Calorimeter? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What is sterilization? Explain the agents of sterilization. |  |
| b) | With a neat diagram explain the working of microprocessor controlled Spectrophotometer. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Describe cell counting by Automatic Optical Method. |  |
| b) | Explain the different blood cells present in the blood plasma in detail. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain electrical conductivity of electrode jellies and creams. |  |
| b) | Explain the Pneumotachometers. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle of multiparameter Coulter Counter method. |  |
| b) | Describe Spirometry and its types. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Mention the advantages & disadvantages of CRO. |  |
| b) | Write a short note on optical fiber sensors. |  |
| c) | Name and give the use of any four clinical laboratory instruments. |  |
| d) | Explain picoscale method of cell counting. |  |
| e) | Explain area of the flow volume measurement. |  |

***********