## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electronics Engg./EC/EI

Subject: Electronic Measurements(4137)/(EN301) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List 3 precautions to be observed when using a voltmeter. |  |
| b) | Draw a circuit for each of the following: i) A two range dc ammeter ii) A three range dc voltmeter. |  |
| c) | Define the following dynamic characteristics of an instrument: i) Speed of response ii) Fidelity iii) Lag. |  |
| d) | List 3 limitations of Wheatstones’s bridge. |  |
| e) | Define the following terms in a CRT: - Fluorescence - Phosphorescence - Persistence. |  |
| f) | What is a Signal generator & Function generator? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the circuit of a series type ohmmeter. Explain why the resistance scale of an analog multimeter is inverted. |  |
| b) | Explain with an example the loading effect of a voltmeter. Explain why the loading effect is more in low sensitivity voltmeters. |  |
| c) | Draw the block diagram of an Analog multimeter and explain voltage and current measurement. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Define standard. Explain Primary & Secondary standards. |  |
| b) | Explain the measurement of amplitude, frequency and phase using CRO. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a circuit diagram the generation of a triggered sweep. Draw waveforms of trigger pulse and sweep generated. |  |
| b) | Sketch & explain basic block diagram of CRO. |  |
| c) | Draw a block diagram of a Dual trace Oscilloscope. Explain each block. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat circuit diagram explain capacitance measurement using Schering bridge. |  |
| b) | Draw the circuit of Kelvin bridge. Illustrate how the bridge eliminates the effect of the resistance of the connecting leads. |  |
| c) | Draw a circuit diagram of the Maxwell bridge. Explain Inductance measurement using this bridge. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a block diagram the generation of triangular, square and sinusoidal outputs in a function generator. | …..2/- |
|  | -2- |  |
|  | (Only for students of revised scheme) |  |
| b) | Draw a block diagram of a Frequency Selective Wave Analyzer and explain its working. |  |
| c) | Draw a block diagram of a Digital Frequency Meter and explain its operation. |  |
|  | (Only for students of old scheme) |  |
| b) | With the help of neat diagram, explain the operation of AF generator. |  |
| c) | Explain the operation of Dot Matrix Display with neat diagram. |  |

***********