## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Machines-I(EE302) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Briefly explain the classification of DC generators with respect to types of excitations. |  |
| b) | Compare between lap and wave winding. (3 points) |  |
| c) | Draw the characteristics of DC series motor and briefly explain each of them. |  |
| d) | State the various applications of DC motor. (any 6) |  |
| e) | Why tap changers are necessary in transformers? Explain. |  |
| f) | What is the need of connecting transformers in parallel? |  |
| g) | Explain the concept of open delta connected transformers. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of simple loop DC machine. |  |
| b) | With a neat circuit diagram, explain the stepwise procedure for connecting an incoming generator in parallel with another already operating generator. |  |
| c) | Explain the working and constructional features of DC welding generator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the necessity of starters in DC motors? With the help of a neat labelled diagram, explain the working of four point starter. |  |
| b) | List down the various speed control methods used for DC motors. Explain any one in detail. |  |
| c) | With the help of a neat diagram, explain the different parts of a transformer. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Why is cooling required for a transformer? What are the ways adopted for improving its cooling efficiency? Explain any one. |  |
| b) | With the help of neat diagrams explain the construction and functions of i) Buccholz relay & ii) Breather. |  |
| c) | A 40 KVA, 3300/240V, 50Hz, single phase transformer has 600 turns on the primary. Determine i) the number of turns on the secondary ii) the maximum value of flux in the core iii) the approximate value of primary and secondary full load currents. Internal drops in the windings are to be ignored. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat phasor diagram explain the no load and on load operation of single phase transformer with lagging power factor. |  |
|  |  | …..2/- |
|  | -2- |  |
| b) | A 11,000/230V, 150KVA, single phase, 50 Hz transformer has core loss of 1.4 KW and full load copper loss of 16 KW. |  |
|  | Determine: i) The KVA load for maximum efficiency and value of maximum efficiency at unity p.f. ii) The efficiency at half full load 0.8 p.f. leading. |  |
| c) | The primary and secondary winding of a 40KVA, 6600/250V single phase transformer has a resistance of 10 ohm and 0.02 ohm respectively. Total leakage reactance is 35 ohm as referred to primary winding. Find full load voltage regulation at 0.8 p.f. lag. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the conditions to be satisfied for parallel operation of transformers (single phase and three phase). Draw the connection diagram. |  |
| b) | Explain the construction and working of single phase autotransformers. State its disadvantages. |  |
| c) | Write short notes on: i) Welding transformer ii) High frequency transformer. |  |

***********