## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(MX602) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Describe the electronics in anaesthetic machine. |  |
| b) | Briefly describe the different components of Drug infusion systems. |  |
| c) | Explain the focused acoustic shockwave source in Lithotriptor. |  |
| d) | Describe Endoscopy in brief. |  |
| e) | What is the importance of fail safe system in anaesthesia machine? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain ventilators used in anaesthesia machine. |  |
| b) | Explain the block diagram of programmable volumetric infusion pump. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction & working of a parallel flow dialyzers with a neat diagram. |  |
| b) | Explain the working of fiber optic endoscopes with an appropriate diagram. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain in brief about anaesthesia machine with a neat diagram. |  |
| b) | Explain the working of programme controlled insulin-Dosing device with a neat diagram. |  |
| Q.No.5. | Answer the following Questions: |  |
| a) | Explain the modern Lithotriptor machine with a neat block diagram. | (8) |
| b) | Describe the classification of endoscopes & its uses. | (4) |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain gas supply system in anaesthesia machine. |  |
| b) | Describe the fully automated closed loop control in infusion system with an appropriate diagram. |  |
| c) | Describe the patient table in lithotriptor in brief. |  |
| d) | Explain the types of cystoscopes in brief. |  |

***********