## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Construction-V(AE502) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the advantages of using composite piles? |  |
| b) | What are fender piles? |  |
| c) | Define partition walls. |  |
| d) | What is metal lath partition? |  |
| e) | What are the limitations of using a lift? |  |
| f) | List examples of prefabricated components used in buildings. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any 2 pile driving methods. |  |
| b) | Give advantages & disadvantages of using precast piles & cast-in situ piles. |  |
| c) | Write a descriptive note on Screw piles & Disc piles with necessary sketches. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat labelled diagram of a timber stud partition wall of size 3.50m x 2.80m, containing a door of size 1.00m x 2.00m. |  |
| b) | Write a descriptive note on: i) precast ii) cast-in-situ RCC partition wall. |  |
| c) | Explain the construction of i) Glass sheet partition ii) Glass hollow block partition. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat-labelled plan & cross-section across a panoramic lift in a commercial building. |  |
| b) | What are the requirements for planning a good lift? |  |
| c) | Explain the civil work required for the construction of a lift shaft. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the techniques of pre-stressed construction of slab in a framed structure. |  |
| b) | A 4 wheeler service center garage requires a Manager’s cabin installed in the existing space. Draw a detailed diagram in plan & section for the kind of partition wall you will suggest & give reason for choosing the same. |  |
| c) | Discuss various safety precautions to be taken into consideration while designing a lift. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch and write a descriptive note on metal piles. State its advantages & disadvantages. |  |
| b) | Explain the construction process of composite piles. |  |
| c) | Describe the procedure for forming pre-cast concrete piles. |  |

***********