## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Nuclear Medicine(MX611) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is nuclear medicine? Define Radioactivity. |  |
| b) | State the basic principle of Scintillation detector. |  |
| c) | What is Gamma Camera? Explain Collimator. |  |
| d) | What is PET? |  |
| e) | What are nuclear medicine scans used for? |  |
| f) | What is radioactive waste? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain using suitable block diagram working of SPECT. |  |
| b) | Explain the uses of PET scanning and its limitations. |  |
| c) | Explain using suitable block diagram working of Gamma Camera system. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain using suitable block diagram uptake monitoring system. |  |
| b) | Define radioactive decay law and explain the types of radioactive decay that produces radiations. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail interaction of Beta radiation with matter. |  |
| b) | Explain with a neat diagram principle of operation of solid state Detector. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the methods of disposal of radioactive wastes. |  |
| b) | Discuss about the internal radiation exposure. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Image reconstruction in PET |  |
| b) | Inorganic Scintillator |  |
| c) | Radiopharmaceutical selection and localisation |  |
| d) | Biological effects of Radiation exposure |  |

***********