## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(EN607)/(4218) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define primary and secondary elements with respect to differential head meters. Give an example of each. |  |
| b) | Draw and explain characteristics of a Thermocouple. |  |
| c) | List three advantages of U-tube manometer. |  |
| d) | Draw the diagram of Hook type Level Detector. |  |
| e) | Draw the diagram of Rotating Vane Flowmeter. |  |
| f) | Explain voltage to current converter in brief. |  |
| g) | What do you understand by Direct methods and Indirect methods of level measurement? List a few. |  |
| h) | Draw the block diagram of a closed loop control system (Only for students of old scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain the working of Venturi tube |  |
| b) | Explain the working principle of Turbine Flowmeter. |  |
| c) | Explain the working of an ultrasonic Flowmeter. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of liquid in Glass Thermometer. |  |
| b) | Explain how Thermistors are used for measurement of temperature. |  |
| c) | Explain one Radiation method for temperature measurement. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain the working of well type manometer. |  |
| b) | Explain measurement of Vacuum using Pirani Gauge. |  |
| c) | What is a Dead weight Piston Gauge? Explain its working. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain float type level detector with necessary diagram. |  |
| b) | Explain level measurement using capacitive method. |  |
| c) | Explain in detail any one ultrasonic method for level measurement. |  |
|  | ### Only for students of revised scheme |  |
| Q.No.6. | Answer any two of the following Questions | 2 x 6 = 12 |
| a) | With neat diagram, explain the working of Differential Head meter. |  |
| b) | Explain the working of Mcleod Gauge for measurement of pressure. |  |
| c) | Explain level measurement using Gamma Rays. |  |
|  | ### Only for students of old scheme |  |
| Q.No.6. | Using block diagram, explain a practical application using the closed loop system for any two of the following parameters: i)Flow ii) Temperature iii) Pressure. | (12) |

***********