## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg./EI

Subject: Industrial Automation(EN616) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain how automation is applied in electrical distribution and telecom. |  |
| b) | What are the benefits of Automation? |  |
| c) | Explain in brief PLC processor scan or sweep. |  |
| d) | With a neat block diagram, explain power supply module in PLC. |  |
| e) | List the processor operating modes and explain them in brief. |  |
| f) | Draw logic symbol and explain NO and NC relay instruction. |  |
| g) | Draw and explain ladder diagram for implementing ‘NOT’ and ‘OR’ gate. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain classification of PLCs based on their type and size. |  |
| b) | List and explain any six application specific modules in PLC. |  |
| c) | Write a note on Redundancy in PLC system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain working of discrete DC output module. |  |
| b) | Explain I/O addressing of analog modules of PLC. |  |
| c) | Write a note on IEC 1131-3 programming standard. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following: - Instruction list programming - Structured text language |  |
| b) | With the help of ladder diagram explain following instructions: - Greater than equal - Less than equal |  |
| c) | Draw a ladder diagram for following system: System has three segmented conveyer belts, each segment run by a motor. - Motor ‘M1’ starts as soon as ‘start’ switch is pressed. - After 20 seconds, ‘M1’ goes off and ‘M2’ starts. - After 10 seconds, ‘M2’ goes off and ‘M3’ starts. - After 15 seconds, ‘M3’ goes off and ‘M1’ starts and cycle is repeated. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain ladder logic and application of ON delay timer and OFF delay timer. |  |
| b) | (i) Explain in brief operation of UP counter instruction. (ii) Draw a ladder diagram for the following Boolean logic equation: Y=ABC+D+E Where A, B, C, D and E are inputs and Y is output. | ……2/- |
|  | -2- |  |
| c) | Draw a ladder diagram for traffic control system for following conditions: - Start the operation with switch S1 - Red light must be ON for 20 seconds. - Green light must be ON for 30 seconds after red light goes off. - Yellow light must be ON for 10 seconds. - Cycle must continue till switch S1 is released. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a ladder diagram for temperature control system with following conditions: A temperature control system consists of three thermostats and three heating units. - Thermostats are set for 20C, 30C and 35C. - Below 20C, all three heaters should be ON. - Between 20-30C, any two heaters should be ON. - Between 30-35C, any one heater should be ON. - Above 35C, all heaters should be OFF. |  |
| b) | Draw a ladder diagram for a bottle filling unit with following processes: System has 2 motors, ‘M1’ to carry empty bottles to fluid tank and ‘M2’ to carry filled bottles for packaging. - Motor ‘M2’ should start once ‘start’ push button is pressed and remain ON till ‘stop’ push button is pressed. - Motor ‘M1’ is energized once ‘M2’ starts and stops when limit switch detects bottle in correct position. - Once bottle is in position after 1 second, liquid is poured in bottle. - Once ‘photoeye’ senses proper level of liquid in bottle, ‘valve’ is closed and bottle remains in position for 1 second. - Then ‘filled bottle’ gives signal to motor ‘M1’ to start again and process continues. |  |
| c) | Write a note on troubleshooting of ladder program. |  |

***********