## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg.

Subject: Energy Management(EE611)/(5108) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the importance of flattering of Load curve. |  |
| b) | What is energy conservation? List its benefits to the industries? |  |
| c) | What do you mean by Energy Audit? Why is it required? |  |
| d) | Briefly explain how localized switching will improve efficiency of lighting system. |  |
| e) | Define pump efficiency & state the formula for hydraulic power of pump. |  |
| f) | What is Colour Rendering Index? Briefly explain its importance in selection of lamps. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you mean by load side energy management? Briefly explain the techniques used in load side energy management. |  |
| b) | State the strategies that can be used to meet future challenges to energy security. Explain the need for such strategies. |  |
| c) | What is detailed Energy Audit? Explain methodology employed for detailed Energy Audit. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is power factor? State the advantages of improving power factor. How is it done? |  |
| b) | Explain step by step approach for maximum demand control. |  |
| c) | List down the components of Electrical tariff structure. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the role of ballast in tube light circuit? Explain how electronic ballast saves energy and improves light output. |  |
| b) | Explain how maximum demand controller works. |  |
| c) | Write a short note on automatic power factor controller. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain procedure for determination of pump efficiency. |  |
| b) | Explain the terms: i) Lamp circuit efficiency ii) Installed power density iii) Average maintained luminance. |  |
| c) | List various methods for determining motor loading. Explain any two. |  |
| Q.No.6. | Write short notes on any two: | 2 x 6 = 12 |
| a) | Soft starters and its advantages over conventional starter |  |
| b) | Minimizing watt loss in motors |  |
| c) | Objectives and basis for differential structure of Tariffs |  |
| d) | Procedure for assessment of Lighting systems |  |

***********