## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electronics Engg./EC/EI

Subject: Electronic Measurements(EN301)/(4137) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | Define (i) Sensitivity (ii) Lag. | (1) |
| b) | What are Gross Errors? | (1) |
| c) | Write a short note on effect of loading. | (3) |
| d) | Name the bridge circuit used for measurement of frequency. | (1) |
| e) | Draw the bridge circuit used for measurement of capacitance. | (3) |
| f) | List four measurements that can be done using a CRO. | (1) |
| g) | Draw a block diagram of Analog Multimeter. | (3) |
| h) | What is the working principle of LCD? (only for students of old scheme) | (2) |
| h) | List the sources of errors. (only for students of revised scheme) | (2) |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly describe the working of a PMMC meter and also derive the torque equation for the same. |  |
| b) | Describe the working of a multirange voltmeter using PMMC meter. Derive the expression for series resistance for atleast two voltage ranges. |  |
| c) | Describe the working of either series type or shunt type ohmmeter. |  |
| Q.No.3. | Answer the following Questions: |  |
| a) | Draw the Kelvin bridge circuit and derive the expression for unknown resistance . | (6) |
|  | OR |  |
| a) | Draw the Maxwell bridge circuit and derive the expression for unknown Inductance for the bridge. | (6) |
|  | only for students of old scheme: |  |
| b) | Explain the construction and working principle of Bar graph display. | (6) |
|  | OR |  |
| b) | Explain the construction and working principle of LED. | (6) |
|  | only for students of revised scheme: |  |
| b) | Explain the block diagram operation of basic spectrum analyzer. | (6) |
|  | OR |  |
| b) | Explain the operation of Digital Frequency Meter. | (6) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the working of a Cathode Ray Tube. |  |
| b) | Explain the working of deflection system of CRO. |  |
| c) | Explain the function of each block of a Dual Trace CRO along with a neat block diagram. |  |
|  |  | ………2/- |
|  | -2- |  |
| Q.No.5. | Answer the following Questions: |  |
| a) | Describe any one type of Triggered sweep circuit used in a CRO. | (6) |
|  | OR |  |
| a) | Write a note on Lissajous patterns. | (6) |
| b) | Describe random errors with atleast two examples. | (6) |
|  | OR |  |
| b) | Write a note on International standards, Primary standards & Secondary standards. | (6) |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe with a neat block diagram the working of a Function Generator. |  |
| b) | Describe with a neat block diagram the working of Frequency Synthesizer. |  |
| c) | With the help of block diagram, explain the operation of Signal Generator. |  |

***********