## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Mechanical Engg.

Subject: Power Plant Engineering(ME623)/(5037) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define ‘Diversity factor’ and state the advantages of diversity of load in a power supply system. |  |
| b) | What are the different factors to be considered while selecting the site for hydroelectric power plants? |  |
| c) | Give the advantages and limitations of diesel electric power plant. |  |
| d) | What are the different types of fuels used for steam generation in Steam Power Plants. |  |
| e) | What are the general components of a nuclear reactor? |  |
| f) | Why are cooling towers necessary in Power Plants? |  |
| g) | Explain coal handling systems used in Steam Power Plants. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | The loads on Power Plant with respect to time for 24 hours are listed below: Time (Hrs); 0-6; 6-8; 8-12; 12-14; 14-18; 18-22; 22-24. Load (MW); 40; 50; 60; 50; 70; 80; 40. Draw the load curve and find the load factor of the Power station. If the loads above 60MW are taken by a stand-by unit of 20MW capacity, find the load factor of the stand-by unit. |  |
| b) | Explain with a neat sketch, the working of a storage type hydroelectric power plant. |  |
| c) | Draw a layout of a low capacity Diesel Engine Power Plant and explain in brief. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch and explain the working of a closed cycle Gas Turbine Power Plant. |  |
| b) | With the help of neat sketch, explain pulverised coal handling system. |  |
| c) | Explain with a neat sketch mechanical dust collector. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the Ion-exchange process of water treatment. |  |
| b) | Draw a neat sketch and explain the working of a cyclone burner. |  |
| c) | Classify Boiler draughts. Explain any one of them with a neat sketch. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch a layout of a PWR nuclear power plant and explain its working. |  |
| b) | Write in brief about Radioactive waste disposal and hazards of radiation. |  |
| c) | i) What are the advantages of liquid fuels over solid fuels? ii) Differentiate between cross flow and counter flow type of cooling towers. |  |
|  |  | ……2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Engine cooling system in I.C. Engine Power Plant |  |
| b) | Prevention of carry over losses from cooling towers |  |
| c) | Functions of feed water loop |  |
| d) | Site selection of Hydroelectric Power Plants |  |
| e) | Advantages of Gas Turbine Plant over Diesel and Thermal Power Plants |  |

***********