## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Control Engineering(4219) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List three advantages of a Closed Loop Control System. |  |
| b) | Draw the characteristics of a Potentiometer and explain. |  |
| c) | Write the Transfer Function for a DC motor and explain the terms used. |  |
| d) | Write short note on Impulse signal. |  |
| e) | Define Stability and S-Plane. |  |
| f) | Define Gain margin and Phase margin. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With an example, explain the Closed Loop Control System. |  |
| b) | Explain the effect of Feedback on the stability of a system and on external disturbances. |  |
| c) | Obtain the Bode Plot, for the function G(s) = S. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain the working principle of DC Servomotor. |  |
| b) | Draw the Torque-Speed characteristics of an AC Servomotor and explain. |  |
| c) | Explain in detail any one application of a Tachometer. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write the transfer function for the RL circuit shown in fig.1. |  |
| b) | Write the transfer function for a Potentiometer and a DC Tachometer. Explain each term used. Also draw block diagram representation for the same. |  |
| c) | Consider the system given by the block diagram in fig.2. Determine the Direct Transmission Gain, Open Loop Transfer Function, Closed Loop Transfer Function, Characteristic Equation. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain different types of Standard Test signals. |  |
| b) | Find m(t) for a step unit Position Servomechanism system with the following constants: R=1, K=6, J=1, h=1, F=5 |  |
| c) | A system has a loop gain HG(s)=50s(s+10) and R(s)=5s. Find the steady state error. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Given the transfer function G(s)=100ss+10. Determine the gain Bode Plot. |  |
| b) | Determine the Magnitude and Phase Bode Plot for the transfer function G(s)=s+10s(s+100). | …….2/- |
|  | -2- |  |
| c) | A fourth order system is represented by the characteristic equation s4 + 8s3 + 18s2 + 16s + 5 = 0. Using Routh Criterion, determine the system stability. |  |