## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg./E&EE

Subject: Substation Practice(EE602)/(5105) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Compare Indoor and Outdoor Substations. |  |
| b) | State the demerits of single bus bar system. |  |
| c) | Define ratio error and phase angle error with respect to C.T. |  |
| d) | Draw the symbols for (i) Lightening arrestor and (ii) Isolator. State the function of each. |  |
| e) | Explain in brief Cubicle type control and relay panels. |  |
| f) | What is a mimic diagram? What is the importance of mimic diagram on control and relay panels? |  |
| g) | State the different types of trachon substations. Explain any one in brief. (only for students of Old scheme) |  |
| g) | What is tariff? Explain in brief simple rate tariff. (only for students of Revised scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain different types of substations based on service requirement. |  |
| b) | With a neat diagram explain double bus bar scheme with main and transfer bus. What is the function of bus coupler? |  |
| c) | With the help of a neat diagram explain CVT. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of PLCC system and explain function of each component in brief. |  |
| b) | Explain block rate tariff and maximum demand tariff. |  |
| c) | State and explain disadvantages of low power factor in an electrical system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain resistance grounding. Draw phasor diagram for the same. |  |
| b) | i) Write a short note on earthing mot. ii) Explain in brief any two internal causes of over voltage. |  |
| c) | With a neat diagram explain working of horn gap arrestor. State its merits and demerits. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any six differences between control and power cables. |  |
| b) | Explain direct laying method of underground cables. State the merits and demerits of this method. |  |
| c) | Explain in brief the factors affecting current carrying capacity of underground cables. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on care and maintenance of lead acid batteries. |  |
| b) | Explain the use of silical gel. How is it reactivated? |  |
| c) | What is meant by line clearance? State any three precautions to be taken by operator while carrying out substation maintenance work. |  |

***********