## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Electronics & Drive Control(EE502)/(5102) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the precaution to be taken during series operation of Thyristor. How can it be achieved? |  |
| b) | Write a brief note on Heat sinks used in power devices. |  |
| c) | Give two points of distinction between general purpose diode & fast recovery diode. |  |
| d) | State the advantages of solid state relays. Also classify dc static switches. |  |
| e) | Differentiate between the two working principles of i) ON-OFF control ii) phase control used in ac-voltage controller with reference to their circuit diagram & waveforms. |  |
| f) | How is dv/dt protection provided in Thyristors? Explain it in brief. |  |
| g) | Draw the circuit diagram and relevant waveforms for a single phase half wave converter with R-L load. |  |
| h) | Give two points of distinction between IGBT & Power MOSFET. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation of a Thyristor firing circuit using PUT with circuit diagram and waveforms. |  |
| b) | Explain construction and characteristics of Schottky diodes. |  |
| c) | Sketch the two transistor model of a thyristor and describe it with necessary expressions. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation of a three phase cyclo converter. |  |
| b) | Draw the symbol and characteristics of SCR and briefly explain it. |  |
| c) | Draw a neat circuit diagram of single phase dual converter and draw its Input and output waveforms. Also explain its operation in brief. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Classify the choppers. Explain the operation of any one of such chopper of your choice with the help of neat circuit diagram & operational diagram. |  |
| b) | State the possible modes of control of a dc chopper. Explain the principle of operation of any one such mode of control of your choice with the help of neat circuit diagram & waveforms. |  |
| c) | Explain with the help of neat circuit diagram fundamental principle of operation of inverter. Also classify the inverters and state the basis of their classification. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram explain working of buck regulator. | …..2/- |
|  | -2- |  |
| b) | Write a short note on “Voltage and frequency control for AC motor”. |  |
| c) | What is the effect of source and load inductance on output voltage waveform in case of three phase full wave bridge uncontrolled rectifier? Hence draw a neat circuit diagram and supply voltage as well as output voltage waveform to explain its effect in brief. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram explain working of single pole ac triac switch. |  |
| b) | With the help of diagrams explain following commutation methods in SCR i) Class A ii) Class D. |  |
| c) | Explain with circuit diagram how you can control the speed of a three phase squirrel cage induction motor using stator voltage control. |  |

***********