## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Ventilator Management(MX612) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain external pneumatic circuit in brief. |  |
| b) | Explain classification of ventilators based on type of safety limit. |  |
| c) | Explain the phase variables in brief. |  |
| d) | What are the risks involved during the setup of VT? |  |
| e) | Name any six Ventilator alarms. |  |
| f) | Explain in brief ‘Nasal continuous positive airway pressure’ in Neonates. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain classification of Ventilators based on method of initiating the inspiratory phase. |  |
| b) | Explain negative pressure ventilation with a neat diagram. |  |
| c) | Explain internal pneumatic circuit in detail. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms: i) Lung Compliance ii) Assist/Control Ventilation iii) Spontaneous Ventilation. |  |
| b) | Write notes on: i) Power Transmission and Conversion system ii) Compressors |  |
| c) | Explain the clinical indications for respiratory failure. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different types of breaths. |  |
| b) | Explain the following modes of ventilation: i) Spontaneous Breathing ii) Continuous Positive Airway Pressure |  |
| c) | Explain the factors controlled and measured during Inspiration. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the Flow rate and Respiratory rate setting. |  |
| b) | Explain the Tidal volume setting in Volume Targeted Ventilation. |  |
| c) | Explain the Inspiratory flow and flow patterns of a Ventilator. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain High Expired Minute Volume Alarm. |  |
| b) | Explain Upper Oxygen Concentration (FIO2) Alarm. |  |
| c) | Explain Upper Airway Pressure Limit Alarm. |  |

***********