## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg./E&EE

#### Subject: Power Generation, Transmission and Distribution(EE304)/(5091)

[Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define i) Diversity factor ii) Utilisation factor |  |
| b) | State electrical and mechanical specification for electrical conduction. |  |
| c) | What is post insulator? Where it is used? |  |
| d) | What is a service mains? Briefly explain. |  |
| e) | State any six standard practices followed in light and fan wiring. |  |
| f) | What is earthing? Why it is necessary? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List main components of stand by diesel plant and state their functions. |  |
| b) | Draw schematic diagram of nuclear power plant and state functions of each part. |  |
| c) | Briefly explain how tidal energy can be utilised in generation of electricity. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare Pin type insulator with Suspension type insulator. |  |
| b) | What is corona? State its advantages and disadvantages. |  |
| c) | Compare EHV system with HVDC system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is a stay insulator? Briefly explain its need and application. |  |
| b) | What is earth resistance? Why it should have low value? Explain methods of reducing it. |  |
| c) | Briefly explain classification of transmission lines as short, medium and long lines. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare radial system with interconnected system. |  |
| b) | Describe AC 2 wire system? Briefly explain its advantages and application. |  |
| c) | Briefly explain concealed conduit wiring. State is advantages and disadvantages. |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | State permissible voltage drops in various parts of distribution system for urban and rural areas. ### OR | (3) |
| b) | Draw connection diagram for staircase wiring. | (3) |
| c) | A staff room of 4m x 4m requires 4 fans and 4 tubelights. Draw a plan showing suitable location of fans, tubes and estimate the total quantity of material required for electrical wiring. | (9) |

***********