## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(FT406)/(4274) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Briefly discuss the sources of water. |  |
| b) | Differentiate between COD and BOD. |  |
| c) | Give the principle of estimation and the limits of total solids in a water sample. |  |
| d) | Briefly discuss the characteristics of waste generated from meat & fish processing units. |  |
| e) | Discuss the significance of disinfection of water. |  |
| f) | Give the principle involved in the estimation of chlorides in water. Give its limits in portable water. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the use of filters in water treatment. Explain the different types of filters. |  |
| b) | Discuss in detail the primary treatment of waste. |  |
|  | OR |  |
| b) | Discuss in detail the secondary treatment of waste. |  |
| Q.No.3. | How would you: (any 4) | 4 x 3 = 12 |
| a) | Estimate the MPN of a water sample |  |
| b) | Determine the bicarbonates present in a water sample |  |
| c) | Determine the TPC of water |  |
| d) | Estimate the total Hardness of water |  |
| e) | Estimate the residual chorine in a water sample |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss & explain in detail with the help of a neat flow chart a typical waste treatment plant. |  |
| b) | Graphically explain the significance of chlorine demand, residual chlorine and break point chlorination in water treatment. |  |
| Q.No.5. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Activated Sludge Process |  |
| b) | Estimation of BOD |  |
| c) | Characteristics of water from a dairy |  |
| d) | Turbidity and colour estimation in water |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the water softening methods used in water treatment. |  |
| b) | With the help of a flow chart, explain in detail the water treatment methods used in soft drink plant. |  |
|  | OR |  |
| b) | Explain in detail a typical water treatment plant. |  |

***********