## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain any 3 differences between a CRO and a DSO. |  |
| b) | Explain a ‘biosensor’ in brief. |  |
| c) | Name any three instruments used in a clinical laboratory. |  |
| d) | Name any three different methods of blood cell counting. |  |
| e) | Define spirometry. |  |
| f) | Define: - Total lung capacity - Vital capacity |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain the operation of a CRO. |  |
| b) | With a neat sketch explain the generation of bioelectric signals. |  |
| c) | Explain the Electrode–tissue interface. |  |
| d) | Explain the skin-contact impedance. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch, explain the interaction of light radiation with matter. |  |
| b) | With a neat sketch explain the principle of a spectrophotometer. |  |
| c) | Write notes on: - Agents of sterilization - Clinical flame photometer |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the method of counting blood cells using the automatic optical method. |  |
| b) | With a neat sketch explain the Coulter principle. |  |
| c) | Explain in detail, the different types of blood cells. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of a sample respiration curve and mark or label on it the following: - Tidal volume - Residual volume - Total lung capacity - Vital capacity |  |
| b) | With a neat sketch, explain the operation of a water-sealed spirometer. |  |
| c) | Explain the principle of a turbine type pneumotachometer. |  |
| Q.No.6. | Write notes on any two: | 2 x 6 = 12 |
| a) | Microprocessor controlled photometer |  |
| b) | Multiparameter Coulter Counter |  |
| c) | Recording electrodes |  |
| d) | Nitrogen washout technique |  |

***********