## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(CE404)/(4015) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Why is it important to protect the environment? |  |
| b) | State three factors controlling the selection of a source of water. |  |
| c) | Draw a neat flow chart of a water treatment plant. |  |
| d) | State three physical characteristics of sewage. |  |
| e) | Write a short note on detritus tank. |  |
| f) | Name the different types of pipes used for water supply projects. |  |
| g) | Define: Rubber, Garbage and Dry refuse. |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State 4 precautions to be taken to prevent water borne diseases. |  |
| b) | State the permissible limits of impurities as per IS 2296:1984 for physical and biological parameters. |  |
| c) | With a neat graph explain in brief hourly variation in rate of consumption of water. |  |
| d) | Explain ‘Simple Graphical Method’ used for population forcasting. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain disinfection of water using chlorination. |  |
| b) | Draw a neat sketch of a clariflocculator and name its parts. |  |
| c) | What is the purpose of Gate valve in a water supply distribution line? Also draw a neat sketch of a gate valve. |  |
| d) | State 2 advantages and 2 disadvantages of intermittent system of water supply. |  |
| Q.No.4. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Draw a neat sketch of home service connections from the street main. Also name the various parts. |  |
| b) | Draw a neat sketch of the pipe fitting given below: i) Reducer iii) Plug ii) Tee iv) Elbows |  |
| c) | State two advantages and two disadvantages of water carriage system. |  |
| d) | Why is it necessary to ventilate the sewer? State any one method of sewer ventilation. |  |
| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | With a neat flow chart, explain Activated Sludge Process. |  |
| b) | Distinguish between Aerobic and Anaerobic decomposition. |  |
| c) | Explain ‘Single Stack System’ used for sanitary plumbing. |  |
| d) | State any four principles to be followed while preparing house drainage plans. |  |
|  |  | ……..2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Collection process of solid waste |  |
| b) | Sludge drying Beds |  |
| c) | Sedimentation and Self cleansing velocity |  |
| d) | Septic tank |  |
| e) | Sewage treatment for housing complexes (any one method) students of revised course only) | (for |

***********