## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(MX403) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | What are thermistors? |  |
| b) | Describe EEG electrode placement. |  |
| c) | Briefly explain speech audiometer. |  |
| d) | Explain the classification of transducers. |  |
| e) | Write a short note on oximetry. |  |
| Q.No.2. | Explain different types of strain gauges with appropriate diagrams. | (12) |
| Q.No.3. | Answer the following Questions: |  |
| a) | Describe the microprocessor based multi-channel ECG machine with an appropriate diagram. | (8) |
| b) | Write a short note on Phonocardiograph (PCG). | (4) |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain evoked response audiometry system with a neat diagram. |  |
| b) | Explain digital hearing aid with a neat diagram. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat labelled diagram explain ultrasonic Blood flowmeters. |  |
| b) | Explain indicator dilution method for the measurement of cardiac output. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Linear Variable Differential Transformer |  |
| b) | EMG |  |
| c) | ERG |  |
| d) | Different transducers used in Audiometers |  |

***********