## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg.

Subject: Energy Systems(Non Conventional) (EE514) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the components of solar water heater. |  |
| b) | Briefly explain photovoltaic system grounding. |  |
| c) | Briefly explain grid interactive solar photovoltaic system. |  |
| d) | Draw a neat block diagram of wind energy conversion system and list its parts. |  |
| e) | Give any three disadvantages of conventional energy sources. |  |
| f) | What is the function of solar charge controller in photovoltaic system? |  |
| g) | What is the need of energy storage in solar energy system? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give advantages and disadvantages of non conventional energy sources. |  |
| b) | What is the importance of non conventional energy sources? Give examples of conventional and non conventional energy sources. |  |
| c) | Give classification of energy sources. Give example of each class. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of central tower receiver collector. |  |
| b) | Give advantages and disadvantages of concentrating collector over flat plate collector. |  |
| c) | With a neat diagram explain working of solar furnace. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give advantages and disadvantages of solar photovoltaic system. |  |
| b) | With a neat diagram explain solar hybrid photovoltaic system. |  |
| c) | With a neat diagram explain solar pumping system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short note on photovoltaic grid tied system without battery backup. |  |
| b) | Write short note on packed bed thermal energy storage system. |  |
| c) | Explain briefly steps involved in sizing of a solar photovoltaic system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give environmental aspects of wind energy conversion system. |  |
| b) | Explain working of fixed dome type biogas plant with a neat diagram. |  |
| c) | Briefly explain different biomass conversion technologies. |  |

***********