## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Electro Pneumatic and Hydraulic Control Circuits(EN516)

[Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State three practical application of pneumatic systems. |  |
| b) | Draw symbols of the following: - Unidirectional flow control valve - Double pilot 5/2 valve - Shuttle valve |  |
| c) | State merits and limitation of pneumatic systems. |  |
| d) | List the various types of fluids used in hydraulic systems and state their properties. |  |
| e) | List three types of cylinders and draw symbol in each case. |  |
| f) | Draw a diagram showing general layout of pneumatic systems. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a lobe impeller type pump used in hydraulic system with the help of a diagram. |  |
| b) | Explain the function of a pressure regulation valve with the help of suitable diagram. |  |
| c) | Draw the symbol of FRL unit and explain the function. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the pneumatic circuit used for semi automatic control of double acting cylinder and explain the working. |  |
| b) | Explain how speed of a double acting cylinder can be controlled during extend operation, with the help of a pneumatic circuit. |  |
| c) | Explain the application of sequence valve with the help of a pneumatic circuit. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of off delay timer with the help of circuit diagram and timing diagram. |  |
| b) | Explain the working of a relay with the help of a diagram. |  |
| c) | Explain the working of an inductive sensor with the help of a diagram. |  |
| Q.No.5. | Answer any one of the following Questions: |  |
| a) | i) Draw the circuit diagram for interfacing 8051 microcontroller with a fully automatic double acting cylinder pneumatic circuit with start and stop switch. Explain the working. | (6) |
|  | ii) Write an 8051 assembly language program for the above question 5a(i). | (6) |
| b) | i) Draw the circuit diagram for interfacing 8051 microcontroller with a double acting cylinder pneumatic circuit. The cylinder is to extend by pressing a push button switch and automatic retract with inductive sensor. | (6) |
|  | ii) Write an 8051 assembly language program for the above question 5b(i). | (6) …….2/- |
|  | -2- |  |
| Q.No.6. | Answer any one of the following Questions: |  |
| a) | i) A double acting cylinder is to extend when the operator presses either hand switch or foot pedal. Retract is due to spring action. Draw a circuit to interface 8051 microcontroller with above pneumatic circuit. Explain the working. | (6) |
|  | ii) Write an 8051 assembly language program for the above question 6a(i). | (6) |
| b) | i) A double acting cylinder is to extend a punching device only when the operator presses switch and the protective guard is in place. Retract occurs when limit switch is pressed. Draw an 8051 microcontroller circuit for controlling the above pneumatic circuit. | (6) |
|  | ii) Write an 8051 assembly language program for the above question 6b(i). | (6) |

***********