## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(MX602) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain humidification in the anesthesia machine. |  |
| b) | Write a note on Infusion pumps. |  |
| c) | Write a note on Kidneys and their functions. What happens to the body fluids in case of Renal diseases? |  |
| d) | What is endoscopy? What are the risks of an endoscopy? |  |
| e) | Elaborate on the electronics in the anaesthetic machine. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the necessary block diagram, elaborate upon programmable volumetric infusion pump. |  |
| b) | Explain in brief the delivery system in the anaesthesia machine. |  |
| c) | Write down a comparison between the various methods through the evolution of automation in the control of drug delivery. Draw and label the necessary block diagrams. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram, explain the principal of dialysis in artificial kidneys. Also, explain the working with a neat diagram. |  |
| b) | Explain the working of a fiberscope. |  |
| c) | What is extra-corporeal shock wave therapy? Also elaborate upon the conditions for using this technique. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Elaborate upon endoscopes with integral TV cameras. |  |
| b) | Explain the different components of fiberscope. Draw the necessary schematic. |  |
| c) | With the help of a neat block diagram, elaborate upon the hemodialysis machine explaining its design and functions. |  |
| Q.No.5. | Answer the following Questions: |  |
| a) | Explain in detail the Gas supply system. | (8) |
| b) | Write a short note on the ambulatory applications. | (4) |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Write a note on ‘Ventilators and patient circuit’. |  |
| b) | Write a note on ‘Syringe pumps’. |  |
| c) | Give the disadvantages of first generation Lithotriptor machines and advantages of modern machines. |  |
| d) | Explain the types of Cystoscopy. |  |
| e) | Explain the process of delivering the drug in drug infusion system. |  |

***********