## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(AE306) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw a cross section of a flushing cistern. |  |
| b) | Explain the term ‘Phase’ in electrification. |  |
| c) | Draw a plan and section of an Inspection chamber. |  |
| d) | Differentiate between conduit wiring and concealed wiring. |  |
| e) | Show different types of fittings in a water supply layout. |  |
| f) | What are the different types of pipes used in sanitary pipeline? (length, sizes and material) |  |
| Q.No.2. | Answer any one of the following Questions: | (12) |
| a) | Draw a water supply layout in a given plan in (Fig.1). |  |
| b) | Draw a sanitary layout given in plan in Fig.2 showing Inspection chambers, gradient, size and types of pipes, Gully trap, etc. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a brief note on components of domestic water supply system. |  |
| b) | What are the different types of water sources to be used as supply in urban areas? |  |
| c) | Draw a cross-section of a water overhead tank showing different components? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on electrical fittings and fixtures used in a typical village bungalow. (low cost housing) |  |
| b) | What are the different types of wirings? Which type of wiring should be used in modern Bungalow? |  |
| c) | Write a note on procedure to be followed for electrical installation in a building. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different types of tests to be carried out before putting the building to use? Which test is the best and why? |  |
| b) | Draw a plan and section of a septic tank and explain functioning of septic tank. |  |
| c) | Sketch a flushing cistern and state functions of the same. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a plan and section of a soak pit and explain it’s working. |  |
| b) | Draw different types of traps. (sketches) |  |
| c) | Draw a cross section of an Indian W.C., Wash basin and a Gully trap. | ……2/- |