## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(4197) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Write a note on speech audiometer. |  |
| b) | Explain modulation transfer function. |  |
| c) | What are the types of shocks in patient safety? Which one is more dangerous and why? |  |
| d) | Write a note on leakage current and its types. |  |
| e) | What are the electric shock hazards faced in hospitals? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a diagram, explain the principle and working of stationary anode tube in X-ray production. |  |
| b) | Explain the working and principle of a CT Scanner. |  |
| c) | Elaborate upon the drug delivery system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note explaining haemodialysis. |  |
| b) | With the help of a block diagram, explain the working of a dialysis machine. |  |
| c) | What are the safety aspects of the surgical diathermy machine? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on the Return Electrode. |  |
| b) | What is an evoked response audiometry system? |  |
| c) | Explain the various applications of telemedicine. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on computerized patient monitoring system. |  |
| b) | Explain computer aided ECG analysis. |  |
| c) | What are the applications of computer in medical field? |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | How can you define image quality with reference to SNR? |  |
| b) | List the various electric shock hazards. |  |
| c) | Write a note on properties of X-rays. |  |
| d) | What is Lithotripsy? Explain. |  |
| e) | What are the applications of LASER in medicine? |  |

***********