## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Civil Engg./CT

Subject: Soil Engineering(CT701)/Soil Machanics(4012) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write short note on soil as an engineering material. |  |
| b) | State the factors affecting permeability. |  |
| c) | Write the typical values of bearing capacity of different soils found in Goa. |  |
| d) | Distinguish between compaction and consolidation. |  |
| e) | Differentiate between Rankine’s theory and Coulomb’s theory of earth pressure. |  |
| f) | Define soil stabilisation. What is the necessity of soil stabilization? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A natural soil deposit has a porosity of 45%. The specific gravity of soil solids is 2.78. Calculate i) Void ratio ii) Dry density iii) Unit weight of soil if 50% saturated iv) Unit weight of soil if completely saturated. |  |
| b) | Describe various states of consistency. |  |
| c) | Give the classification, properties and uses of important rocks. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain particle size distribution of soil. |  |
| b) | Explain constant head permeability test. |  |
| c) | With neat sketch, explain how soil is tested for shear strength in triaxial shear test. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain plate load test and its limitations. |  |
| b) | Explain sand replacement method to measure field density of soil. |  |
| c) | Explain briefly field application and method of soil compaction. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any two methods of slop stabilization against earth pressure of cuts and landfills. |  |
| b) | Explain soil exploration by electrical resistivity method. |  |
| c) | Explain mechanical method of soil stabilisation. |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Construction importance of flow and equipotential lines |  |
| b) | Concept of quick condition |  |
| c) | Drained and undrained condition |  |
| d) | Concept of ground modification by consolidation |  |
| e) | Active and passive earth pressure |  |
| f) | Disturbed and undisturbed sample |  |
| g) | Sheet jointing and column jointing |  |

***********