## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(AE403)/(4533) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define air change? State its importance in ventilation. |  |
| b) | Define and explain ‘thermal conductivity’. |  |
| c) | Draw a neat labelled sketch to indicate behavior of sound in an enclosure. |  |
| d) | Suggest three precautionary measures adopted to achieve effective noise control against outdoor noises. |  |
| e) | State the basic difference in a dry rise system and wet rise system in fire extinguishing systems. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the two effects that decide the rate of natural ventilation in an enclosed space. |  |
| b) | State the factors that necessitate use of air conditioners in building. |  |
| c) | Explain the components of chilled water air conditioning plant with suitable sketches. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the objectives of thermal insulation for building. |  |
| b) | List and explain the available forms of thermal insulating materials. |  |
| c) | Explain the method of construction adapted for thermal insulation of wall with appropriate sketches. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the characteristics of audible sound. |  |
| b) | Briefly explain the acoustical defects and remedial measures to overcome the defects. |  |
| c) | State the principles that are followed to create good acoustics in an auditorium. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write a brief note on noise transmission in buildings. |  |
| b) | Elaborate on measures adapted for noise insulation in toilet block. |  |
|  | Only for students of Revised Scheme: |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the causes of fire outbreak in buildings. |  |
| b) | State the important consideration for fire protection of building. |  |
| c) | Write a brief note on fire resisting properties of following: i) Stone ii) Concrete. |  |
|  |  | ……2/- |
|  | -2- |  |
|  | Only for students of Old Scheme: |  |
| Q.No.6 | Answer the following questions: |  |
| a) | Draw sketches to explain construction provisions laid for safety of columns, beams against fire. | (6) |
|  | ### OR |  |
| a) | State the provisions required to be made to construct fire resistant floors and roofs. | (6) |
| b) | List 3 types of fire extinguishing equipments | (3) |
|  | ### OR |  |
| b) | List 3 types of sprinkles. | (3) |
| c) | List three ways to achieve natural ventilation. | (3) |
|  | ### OR |  |
| c) | Draw sketches to indicate how position of windows affect ventilation in an enclosed space. | (3) |

***********