## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Machines-I(EE302) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define: (i) Back pitch (ii) Front pitch (iii) Commutator pitch. |  |
| b) | Write the expression for generated EMF of DC generator and state the factors on which it depends. |  |
| c) | Explain the concept of back emf. |  |
| d) | What is the necessity of a starter in DC motor? |  |
| e) | What is the need of cooling in a transformer? |  |
| f) | What are the conditions to be satisfied for parallel operation of transformers? |  |
| g) | Explain the principle of operation of an autotransformer. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of simple loop DC machine. |  |
| b) | Explain the classification of DC generators. |  |
| c) | Explain the conditions to be satisfied and necessity of parallel operation of DC generators. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List the various methods of speed control of DC motor and explain any one in detail. |  |
| b) | With a neat labelled diagram explain the working of a four point starter. |  |
| c) | List the various parts of transformer and explain the function of each part. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagrams, differentiate between core and shell type transformers. |  |
| b) | List various types of cooling systems used in transformer and explain any one in detail. |  |
| c) | With the help of neat phasor diagram explain the no load and on load operation of a transformer with lagging power factor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the effect of following conditions on performance of transformer: i) Voltage and frequency variation ii) Failure of cooling system. |  |
| b) | A 20 KVA, 2500/250V, 50HZ single-phase transformer gave the following test result: Open - circuit test (on L.V. side)-250V, 1.4A, 105 watts Short – circuit test (on H.V. side) – 104V, 8A, 320 watts Determine the parameters of the equivalent circuit and draw the equivalent circuit. |  |
|  |  | …….2/- |
|  | -2- |  |
| c) | The primary and secondary windings of 30 KVA, 6000/230 volt, single phase transformer have resistance of 10 ohm and 0.016 ohm respectively. The total reactance of transformer referred to primary is 23 ohm. Calculate percentage regulation of transformer while supplying full load current at a p.f. of 0.8 lagging. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagrams explain parallel operation of single and three phase transformers. |  |
| b) | State the advantages and disadvantages of an autotransformer over two winding transformer. |  |
| c) | Write short note on: (i) High frequency transformer (ii) Welding transformer |  |

***********