## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Medical Electronics

Subject: Nuclear Medicine(MX611) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Radioactivity. Explain types of emissions. |  |
| b) | What is the function of Photomultiplier tubes? |  |
| c) | What is Rectilinear scanner? What are the advantages of Gamma Camera over Rectilinear scanner? |  |
| d) | What is SPECT? |  |
| e) | What are radioactive tracers? |  |
| f) | What are the options available for radioactive waste disposal? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain principle of operation of PET Scanner. |  |
| b) | What are nuclear medicine scans used for? Explain the working principle of SPECT. |  |
| c) | Explain using suitable block diagram working of rectilinear scanner. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss about radiopharmaceutical selection and localisation. |  |
| b) | Explain units of Radioactivity. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail interaction of Gamma radiation with matter. |  |
| b) | What are the types of scintillation detectors? Explain any one with a neat diagram. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain external radiation hazards and how it can be prevented. |  |
| b) | Explain Biological effects of Radiation exposure. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | SPECT Data acquisition |  |
| b) | Different processes in a scintillation detector |  |
| c) | Gamma Camera fundamentals |  |
| d) | Internal radiation exposure |  |

***********