## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Building Automation(EN619) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the term IBMS. |  |
| b) | List the benefits of BMS to the building user. |  |
| c) | Draw a diagram of a CV AHU showing DDC damper controls. |  |
| d) | List 3 sensors used in lighting control in BMS and briefly explain their functions. |  |
| e) | Explain the light purge program used in EMS. |  |
| f) | Describe the applications of BMS in the Hotel industry. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the role of BMS in Industrial and Commercial buildings. |  |
| b) | Explain how BMS can be used to control HVAC. |  |
| c) | Explain the process of dehumidification with reheat. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the role of HVAC in industry. |  |
| b) | Explain the working of granular absorption bed used in dehumidification. |  |
| c) | Explain the working of HEPA filter. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms: Adiabatic process, Relative humidity, Wet bulb temperature. |  |
| b) | Explain the steam jet techniques of humidification. |  |
| c) | Explain chiller controls with the help of a diagram. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the hierarchical configuration of BMS hardware. |  |
| b) | Explain the working of poll response protocol. |  |
| c) | Describe the various communication media use in BMS transmission of data. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the advantages of DDC. |  |
| b) | Explain the functions of operating system used in DDC. |  |
| c) | List and describe typical DDC operators. |  |

***********