## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2017 Examinations

Programme: Mechanical Engg./FT/A/SB/MNE

Subject: Elements of Electrical & Electronics Engineering(CS302) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define power factor and explain its significance. |  |
| b) | List out any six methods of improving earth resistance. |  |
| c) | List out the specifications of power cables. |  |
| d) | Explain the necessity of a “starter” for a DC motor. |  |
| e) | List out the specifications required for procurement of three phase induction motor. |  |
| f) | Draw the circuit of full-wave bridge rectifier and explain its working principle with neat waveforms. |  |
| g) | Explain why an ordinary junction transistor is called Bipolar? How are all currents of transistor related? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain pipe Earthing with neat diagram. |  |
| b) | Explain the “Surface conduit wiring systems” with neat diagram. List out its two advantages and two disadvantages. |  |
| c) | Explain the “Direct laying method” of laying underground cables for distribution of electrical power. State its advantages & disadvantages. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat labelled diagram, explain the construction of three phase PVC insulated power cable. |  |
| b) | Draw the symbol and state the function of i) Switch fuse unit ii) Contactor iii) MCB. |  |
| c) | Explain the construction of Rewirable fuse. State its two advantages & two disadvantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the basic construction and principle of operation of single phase transformer. |  |
| b) | i) Define Voltage Regulation and efficiency of transformer. | (3) |
|  | ii) State the expressions for emf induced in primary as well as secondary winding of a transformer indicating clearly each term used in the expression. | (3) |
| c) | With the help of neat circuit diagram, explain the “Classification of DC motors.” |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with the help of neat diagram, methods of reversal of direction of rotation of DC shunt and DC series motor. |  |
| b) | Explain the principle of operation of three phase induction motor. Also state any four applications of induction motors. |  |
| c) | i) Explain the necessity of starter in a three phase induction motor. | (4) |
|  | ii) How do you reverse the direction of rotation of three phase induction motor? | (2) ……2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram and waveforms explain the working of capacitor filter circuit. |  |
| b) | With the help of neat diagram, explain the operation of NPN transistor. |  |
| c) | Draw the symbols and Truth Table of following Gates: i) OR ii) NAND iii) AND. |  |

***********