## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Food Technology

Subject: Industrial Waste & Water Treatment(4274)/(FT406) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Discuss briefly the principle involved in the estimation of alkalinity. |  |
| b) | Give the permitted limits of acidity and alkalinity of drinking water. |  |
| c) | Discuss the characteristics of waste generated from a dairy. |  |
| d) | Discuss the uses of water for industrial purposes. |  |
| e) | What is COD? How is it different from BOD? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the different types of filters used in water treatment. |  |
| b) | With the help of a graph discuss the significance of break point chlorination, residual chlorine & chlorine demand. |  |
| c) | With the help of a neat diagram discuss the specific water treatment methods involved in soft drink industry. |  |
| Q.No.3. | How would you: (any three) | 3 x 4 = 12 |
| a) | Determine the MPN of water. |  |
| b) | Estimate the chlorides present in water. |  |
| c) | Estimate DO of water. |  |
| d) | Estimate temporary and permanent hardness of water. |  |
| Q.No.4. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Water softening methods |  |
| b) | Aerobic treatment of waste |  |
| c) | Estimation of colour & turbidity of water |  |
| d) | Index Microorganisms |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the tests invovled in carrying out the microbiological examination of water. |  |
| b) | With the help of a flow chart discuss in detail the waste treatment plant. |  |
| c) | Discuss the physical methods used in the treatment of water. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the sludge disposal process. |  |
| b) | What is activated sludge process? Explain in detail. |  |
| c) | Discuss in detail the pollution hazards caused due to disposal of untreated waste. |  |

***********