## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Civil Engg./CT

Subject: Maint. of Civil Engg. Struct.(5003)/Maint. & Repairs Civil Struct. (CE625)

[Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Enlist the causes of deterioration of structure. |  |
| b) | What is anti-termite treatment? |  |
| c) | Enlist the causes for cracks in concrete.. |  |
| d) | Give different methods of cleaning of sewers. |  |
| e) | What is shortcrete or guniting lining of canals? |  |
| f) | What is non-destructive testing? (only for students of revised scheme) |  |
| f) | What is routine inspection of hydraulic structure? (only for students of old scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Mention the detailed classification of maintenance of structure. Explain emergency maintenance. |  |
| b) | Explain the factors influencing the maintenance of structure. |  |
| c) | Explain the following in brief: - Health and safety requirements - Types of estimates for maintenance |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Enlist and explain the causes of cracks in masonry structures. |  |
| b) | Discuss the following methods of crack repairs: - Concrete replacement - Mortar replacement - Resin based repairs |  |
| c) | Explain the maintenance components of multi-storeyed buildings. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the general consideration for maintenance of distribution system? |  |
| b) | In brief explain the maintenance of sewage treatment plant. |  |
| c) | With neat sketch explain the repair of service roads, banks and berms in canals. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how the working efficiency of the following irrigation structure can be improved: i) Dams ii) Gates and Weirs. |  |
|  | only for students of revised scheme: |  |
| b) | Briefly explain inspection and maintenance of marine structure. |  |
| c) | What is a permanent way? How the maintenance and repair of permanent way is done? |  |
|  | only for students of old scheme: |  |
| b) | Explain the classification of weeds in canals. Explain how weed growth can be controlled in case of canals. |  |
| c) | Enlist the defects in WBM roads and how these defects are rectified. | …..2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Repair and maintenance of shoulders and pot holes |  |
| b) | Light and ventilation |  |
| c) | Foundation maintenance |  |
| d) | Cleaning of water tank |  |
| e) | Material selection for maintenance |  |
| f) | Subsidence of roads (only for students of revised scheme) |  |
| f) | Repair of filters (only for students of old scheme) |  |

***********