## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Building Automation(EN619)

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the term Building Management System. |  |
| b) | List the functions of HVAC. |  |
| c) | Draw the block diagram of water chilling system used in HVAC. |  |
| d) | Explain the function of Energy management software. |  |
| e) | List three sensors used in BMS. |  |
| f) | Describe the application of BMS in Pharma Industry. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the role of BMS in industrial and commercial buildings and list the benefits of BMS. |  |
| b) | Explain how BMS can benefit Lightning Control System. |  |
| c) | Explain the working of a two pipe HVAC all air system with the help of a neat diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the heating equipment in HVAC with the help of a diagram. |  |
| b) | Explain the working of constant volume reheat system in HVAC with the help of a diagram. |  |
| c) | Explain the working of an Electrostatic filter used in HVAC with the help of a diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the terms: i) Adiabatic process ii) Wet bulb temperature iii) Relative humidity |  |
| b) | Explain the working of a steam jet humidifier with the help of a diagram. |  |
| c) | Explain the different types of controls used in chillers. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the hierarchical hardware configuration used in BMS with the help of a block diagram. |  |
| b) | Explain the peer communication protocol. |  |
| c) | Explain the function of the operation level processor in BMS. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the advantages of Direct Digital Control. |  |
| b) | Describe the optimum start and optimum stop program used for energy management, |  |
| c) | Explain the typical DDC operators used in Direct Digital Control. |  |

***********