## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(MX403) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain what is a Peizo-electric Transducer. State names of any two pressure Transducers. |  |
| b) | Explain what is Electro-oculograph (EOG). |  |
| c) | Explain ‘Mechanism of Hearing’ with neat diagram. |  |
| d) | Explain ‘Oximetry’ in brief. |  |
| e) | Explain ‘Thermocouples’ in brief. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is a strain gauge pressure transducer? Explain any one type of strain gauge with neat diagram. |  |
| b) | With a neat diagram explain any one type of photoelectric transducer. |  |
| c) | Explain ‘Thermisters’ in detail. State applications of Thermisters. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw and explain the block diagram of an ECG machine. |  |
| b) | Draw block diagram of E.M.G. Explain Electromyograph in detail. |  |
| c) | Draw neat block diagram of Multichannel ECG machine and explain in detail. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is an audio-meter? Explain any one type of audiometer. |  |
| b) | Explain conventional hearing aid with a neat diagram. |  |
| c) | Write a note on ‘Masking in audiometry’. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain ‘Electromagnetic Blood Flowmeter’. |  |
| b) | Write a note on ‘Plethysmography’. |  |
| c) | Explain any one method of cardiac output measurement. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Potentiometric Transducer |  |
| b) | Apex cardiograph |  |
| c) | Strain gauges |  |
| d) | Evoked Potentials |  |

***********