## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the importance of CRT in a CRO. |  |
| b) | Explain the importance of vertical amplifier and delay line in CRO. |  |
| c) | Explain electrode-tissue interface in brief with a neat diagram. |  |
| d) | Explain Monochromators in brief. |  |
| e) | Name any three errors in electronic counting. |  |
| f) | Define: i) Minute volume (MV) ii) Tidal volume |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation of CRO. |  |
| b) | How is medical diagnosis performed with chemical test? |  |
| c) | Explain spectrophotometry in detail. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the importance of electrode jellies and creams in measuring Bio-electric signals. |  |
| b) | State the advantages of optical fibre sensors. |  |
| c) | Explain the automatic optical method of cell counting. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the radiation sources of spectrophotometer type instruments. |  |
| b) | Explain colorimeters in detail. |  |
| c) | With a neat block diagram explain microprocessor controller spectrophotometer. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the types of blood cells in detail. |  |
| b) | Explain the microscopic method of cell counting. |  |
| c) | Explain the Multiparameter Caulter counter in detail. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the types of measurements made in pulmonary clinic. |  |
| b) | Explain wedge spirometer in detail. |  |
| c) | Explain the nitrogen washouts technique in detail. |  |

***********