## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electronics Engg./EC/EI

Subject: Electronic Measurements(4137)/(EN301) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | Define: i) Accuracy ii) Speed of Response. | (1) |
| b) | What are Primary & Secondary standards? | (1) |
| c) | Derive the torque equation of a PMMC meter. | (3) |
| d) | Name the bridge circuit used for measurement of very low value resistance. | (1) |
| e) | Draw a bridge circuit used for measurement of inductance. | (3) |
| f) | What are Lissajous patterns? | (1) |
| g) | What are signal generators? Where are they required? | (3) |
| h) | What is the working principle of LED? (only for students of old scheme) | (2) |
| h) | What are IEEE standards? List any one IEEE standard. (only for students of revised scheme) | (2) |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the construction of a PMMC meter with a neat diagram. |  |
| b) | With a neat circuit diagram describe the working of a multirange ammeter using a basic PMMC meter and either a universal shunt or multiple shunts. Derive expression for shunt resistance for atleast two ranges. |  |
| c) | Describe the working of a multimeter with the help of block diagram. |  |
| Q.No.3. | Answer the following Questions: |  |
| a) | Draw the circuit and derive the expression for bridge balance of a Wheatstone bridge. What are its limitations? | (6) |
|  | ### OR |  |
| a) | With a neat circuit diagram derive the expression for bridge balance of a general AC bridge. | (6) |
| b) | Describe Gross Errors and Systematic Errors with atleast one example for each. | (6) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the basic block diagram of a cathode ray oscilloscope and explain the function of each block. |  |
| b) | Explain Electrostatic focusing system of a CRO with a neat diagram. |  |
| c) | Describe the working of a Dual Trace CRO with a neat block diagram. |  |
| Q.No.5. | Answer of the following Questions: |  |
| a) | Explain the vertical deflection section of a CRO in detail with a neat diagram. | (6) |
|  | ### OR |  |
| a) | Describe the function of delay line section of CRO with a neat diagram. | (6) |
| b) | Explain the construction and working of dot matrix display. students of old scheme) | (only for (6) |
|  | -2- | ……2/- |
| b) | Explain the operation of Wein bridge for measurement of frequency. (only for students of revised scheme) | (6) |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe with a neat block diagram the working of frequency synthesizer. |  |
| b) | Explain the working of a Function generator to generate pulse ouput. |  |
| c) | Describe with a neat block diagram the working of frequency divider type signal generator. (only for students of old scheme) |  |
| c) | Explain the operation of Digital frequency meter using neat diagram. (only for students of revised scheme) |  |

***********