## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electrical Engg.

Subject: Non Conventional Sources of Energy(3009) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give any three limitations of non conventional energy sources. |  |
| b) | List the factors affecting biodigestion. |  |
| c) | Give advantages of porous absorber solar collector over non porous collector. |  |
| d) | List any six applications of solar energy. |  |
| e) | Give any two advantages and limitations of tidal power generation. |  |
| f) | Draw the diagram of windassisted gas turbine generating unit. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give classification of focusing type solar collector. With a neat diagram explain working of any one type. |  |
| b) | Give advantages and disadvantages of concentrating collector over flat plate collector. |  |
| c) | With a neat diagram explain construction and working of solar air collector. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short note on Mechanical energy storage form of solar energy. |  |
| b) | Give advantages, disadvantages and applications of photo voltaic solar energy conversion. |  |
| c) | With a neat diagram explain construction and working of solar furnace. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of box type solar cooker. |  |
| b) | Give advantages and disadvantages of floating drum type biogas plant. |  |
| c) | With a neat diagram explain single stage and double stage type continuous biogas plant. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of wind energy conversion system. Give functions of each component. |  |
| b) | Give environmental aspects of wind energy conversion system. |  |
| c) | Give advantages and disadvantages of wind energy conversion system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of geothermal energy conversion system. |  |
| b) | Write short note on power generation by tidal energy conversion. |  |
| c) | List component of hydro-electric scheme and give functions of each component. |  |

***********