## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(4533)/(AE403) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List any 3 types of mechanical ventilation systems. |  |
| b) | State any 2 best positions for placing the outlets for the supply of conditioned air. |  |
| c) | List 3 ways in which heat transfer takes place. |  |
| d) | Name the defects that may be caused due to reflection of sound waves in an enclosed space. |  |
| e) | Define ‘Sound Insulation’. |  |
| f) | What aspect should be considered while designing the structural framework of a building with respect to providing fire protection? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between natural ventilation and mechanical ventilation. (3 points each) |  |
| b) | State any 6 general rules of natural ventilation. |  |
| c) | Draw a neat labelled plan of an air conditioned multipurpose hall of size 20m x 40m showing its air distribution and circulation system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on the following thermal insulation materials: (any three) |  |
|  | i) Blanket insulation ii) Loose fill insulation iii) Insulating boards iv) Bat insulation materials. |  |
| b) | Suggest 2 methods to deal with heat insulation of exposed doors and windows. |  |
| c) | List any 6 points to reduce heat gain through roofs. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short notes on i) Reverberation ii) Types of sound absorption in an auditorium. |  |
| b) | Classify any 3 types of absorbent materials used for acoustics. |  |
| c) | List any 6 requirements of a good acoustic material. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short notes on any 2 types of sound insulating materials: - Non- porous rigid partitions - Porous rigid partitions - Non-rigid or flexible porous materials |  |
| b) | Draw a neat labelled diagram of a Double wall partition and explain its construction. |  |
| c) | Draw a neat labelled diagram of a Cavity wall or Double wall construction provided for sound insulation. |  |
|  | -2- | …..2/- |
|  | Only for students of Revised scheme: |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A commercial building is to be built in Panaji, which needs to be fire resistant. Discuss the fire resistance of any 3 materials given below to be used while constructing the building: i) Bricks ii) Steel iii) Glass iv) Timber. |  |
| b) | List 6 general fire safety requirements for building. |  |
| c) | State any 6 points, which need to be considered while planning the fire-resistance of floors and roofs. |  |
|  | Only for students of Old scheme: |  |
| Q.No.6. | Answer the following questions:- |  |
| a) | Describe the fire resisting properties of i) Concrete ii) Steel iii) Plaster or mortar. | (6) |
| b) | Give any 4 requirements for providing smoke extraction from Basement. ### OR | (3) |
| b) | List 3 characteristics of an ideal fire resisting material. | (3) |
| c) | Write a short note on ‘Fire escape elements’. | (3) |
|  | ### OR |  |
| c) | Write a short note on ‘Fire hazards’. | (3) |

***********