## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(4218)/(EN607) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the parts of a differential flow meter and explain in brief |  |
| b) | State 3 advantages of an orifice plate |  |
| c) | Write a short note on ‘Temperature scales’. Explain any 2 in brief. |  |
| d) | Define Absolute pressure and Static pressure. |  |
| e) | State 3 advantages of Manometers. |  |
| f) | Draw a neat labelled diagram of a Capacitance Level Indicator. |  |
| g) | With a neat diagram, explain the construction of a Hook Type Level Indicator. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the working of a Venturi tube. |  |
| b) | Explain the working principle of a Rotameter with neat diagram. |  |
| c) | With a neat diagram, explain the working of a Turbine flow meter. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a Bimetallic Thermometer. Draw necessary diagram. |  |
| b) | Explain how Thermistors are used in Temperature Measurement. Draw a Thermistor connected in a bridge circuit. |  |
| c) | With a neat diagram, explain the working of a Radiation Pyrometer. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the working of a U tube Manometer. |  |
| b) | List the errors that arise in Manometers and explain the same. |  |
| c) | With a neat diagram, explain the working of a C-Type Bourdon Tube. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the construction and working of a High pressure sight glass in level measurement. |  |
| b) | Explain the construction and working of a Float Type Level Indicator. Draw necessary diagram. |  |
| c) | With a neat diagram, explain how ultrasonic waves are used in level measurement. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the detail a calibration technique used for calibration of gaseous flow meters. |  |
| b) | Explain the working of any one instrument used for measurement of vacuum. Draw necessary diagram. | ……2/- |
|  | -2- |  |
| c) | With a neat diagram, explain how level can be measured using gamma rays. |  |
| d) | Explain in detail one practical application of measurement of pressure using closed loop system. Draw necessary diagram. students of old scheme) | (Only for |

***********