## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/c(5090) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the term C.O.P. |  |
| b) | List the factors considered in the selection of refrigerant. |  |
| c) | Name and state the functions of the three fluids used in Electrolux refrigerator. |  |
| d) | State the advantages of VCRS over VARS system. |  |
| e) | Explain Dew point depression. How it is important in Psychrometrics? |  |
| f) | Define the following with reference to A.C.: i) Relative Humidity ii) Enthalpy |  |
| g) | Which vapour system is very less used world over? Why? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat sketch, explain Psychrometer. |  |
| b) | State the desirable properties of ideal refrigerant. |  |
| c) | Describe with sketch the working of a practical vapour absorption system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the effect of the following on the performance of the VCR system with neat sketch: i) Effect of delivery pressure ii) Effect of sub-cooling of liquid |  |
| b) | Represent the VCR cycle on T-S and p-h graph and explain the graph. |  |
| c) | What do you understand by hermetically sealed compressor? Give the advantages over other refrigerant compressors. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the function of a capillary tube in refrigeration system. Why is it preferred to other throttling devices in household refrigerators? |  |
| b) | Show the following air conditioning processes on the skeleton of pyschrometric chart: i) Cooling and de-humidification ii) sensible heating iii) Heating and humidification |  |
| c) | Define “Bypass factor”. Also explain in brief, what do you understand by the term RSHF and GSHF. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the function of a fan in an A.C. unit? How are fans classified? |  |
| b) | Briefly explain Automatic temperature control, limit switches and time switches. |  |
| c) | With neat sketch explain domestic refrigerator. |  |
|  | -2- | ……2/- |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Clausius statement |  |
| b) | Air movement system |  |
| c) | Window A.C. |  |
| d) | Auto A.C. |  |
| e) | Compressor |  |

***********