## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(CE404)/(4015) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write any 6 points on duties of every citizen to keep unpolluted and protected environment on our planet. |  |
| b) | What are the advantages and limitations of ground water sources as compared to surface water sources? |  |
| c) | Specify any 3 chemical characteristics of water and their safe permissible limits for public supplies. |  |
| d) | For an average Indian city or a town, what is the amount of per capita demand of water? Also name the various demands included in this figure. |  |
| e) | What is meant by disinfection of water and sterilization? Mention any three methods of disinfection other than chlorination. |  |
| f) | Make a list of various materials and fittings required for water supply plumbing of a house (At least six fittings). |  |
| g) | What are the systems - separate, combined and partially separate system of sewage conveyance to disposal/treatment plant? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Enlist any 6 reasons why water requires treatment before supplying for Industrial and domestic use. |  |
| b) | What is meant by design period? Why is it required? What is variation of demand? Draw a graph of hourly variation in water demand. |  |
| c) | What is meant by sedimentation aided with coagulation? Name any three coagulants with their chemical composition. Enlist various sub units in this system of sedimentation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | i) List out any 6 comparisons between slow sand filters and rapid sand filters. ii) Enlist and explain methods of collection of daily waste from houses and streets in a town |  |
| b) | Write any 6 advantages of continuous system over intermittent system of water supply. |  |
| c) | What are the fire hydrants? Where they are to be located? Draw neat sketch of any type of a fire hydrant. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw neat cross section of a house connection starting from water main, to the taps in a house including ferrule joint, goose neck joint, meter, over head tank, etc. Show the direction of flow in all the pipes for a two storeyed building. |  |
| b) | i) What are the various materials used for sewers? ii) Draw the various shapes of sewers. iii) What is the advantage of egg shaped sewer? Draw section of an egg shaped sewer showing its proportionate dimensions in terms of radius ‘R’. |  |
| c) | Explain with necessary sketches a typical trickling filter or activate sludge process. | ……2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the various methods of discharge of treated effluent? Explain each in brief with necessary sketches. |  |
| b) | Draw a neat layout plan of house plumbing system, connecting to public sewer from various sanitary points. Include in it the inspection chambers, soil pipe, waste pipe, rain water outlets, intercepting trap, etc. Show the direction of flow of sewage. |  |
| c) | Draw a neat sketch of a typical septic tank section and explain its working. Also include a soak pit in the sketch. |  |
| Q.No.6. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | During spread of epidemics in a town, what precautions are to be taken to avoid spreading of diseases? Make a list of any 6 points. |  |
| b) | What are the two tests to estimate the yield of a well? Explain in brief any one. |  |
| c) | What are the advantages of water carriage system over conservancy system? Write any 6. |  |
| d) | Write short notes with sketches on automatic flushing units in sewage system or sewer ventilation. |  |
| e) | Make list of any 12 daily wastes in our locality including the smallest quantity such as chocolate wrapper. |  |
| f) | Explain any one method of disposal of organic waste in a town. |  |

***********