## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Electronics & Drive Control(EE502)/(5102) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give classification of choppers. |  |
| b) | Briefly explain principle of phase control with reference to ac voltage controllers. |  |
| c) | Explain in brief working principle of inverter. |  |
| d) | Differentiate between DIAC and TRIAC. |  |
| e) | What is the purpose of using free wheeling diode? |  |
| f) | Draw VI characteristics and symbol of PUT. |  |
| g) | Briefly explain principle of ON-OFF control. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any one method of chopper control. |  |
| b) | Write a note on Boost regulators. |  |
| c) | Write a short note on rotor voltage control of induction motor. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain single phase half wave converter drive with neat circuit diagram and waveforms. |  |
| b) | Write a short note on snubber circuit and current protection for SCR’s. |  |
| c) | Write a note on stator control voltage. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw VI characteristics of thyristor and explain in detail. |  |
| b) | How is it possible to provide isolation between power circuit and isolation circuit in thyristorised devices? Draw and explain one method. |  |
| c) | Explain working of single phase full wave bridge controlled rectifier with neat circuit diagram. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain principle of phase controlled converter with help of neat circuit diagram, input, output waveforms. |  |
| b) | Write note on fast recovery diodes and schottky diodes. |  |
| c) | Explain thyristor firing circuit using PUT with neat circuit diagram and waveforms. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the principle of operation of ac voltage controllers. Explain any one with neat circuit diagram and waveforms. |  |
| b) | With the help of waveforms and circuit diagram explain working of bridge inverter. |  |
| c) | With neat diagram explain working of any one DC switch. |  |
| d) | Draw 2 transistor model for Thyristor. Also state expression for anode current and explain each term of it. “Once a thyristor starts conducting it continues to conduct even if gate signal is withdrawn”. Justify. |  |

***********