## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(4197) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Describe the pure tone audiometer. |  |
| b) | State the types of shocks in patient safety. Which of the shocks is more dangerous and why? |  |
| c) | List various electric shock hazards. |  |
| d) | Write a note on Leakage currents. |  |
| e) | Why is it important to maintain the integrity of the grounding system in the hospital? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle and working of the Magnetic Resonance Imaging system. |  |
| b) | What are X-rays? Explain the properties of X-rays. Also, explain the X-ray tube with a neat diagram. |  |
| c) | Explain how bladder stimulator works. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the different parts of haemodialyzer machine with a neat diagram. |  |
| b) | Elaborate upon the principle and working of drug delivery system. |  |
| c) | Explain the principle of a surgical diathermy machine with a neat diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the various electrosurgical techniques used. With the help of a diagram/waveforms, describe what is cutting and coagulation. |  |
| b) | What is an evoked response audiometry system? |  |
| c) | What is the importance of patient monitoring system? Also, mention the different vital parameters which are displayed on the system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on Telemedicine. |  |
| b) | Write a note on computer aided ECG analysis. |  |
| c) | What does a computer catheterization lab comprises of? Explain. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | How can you define image quality with respect to Signal to Noise ratio? |  |
| b) | Write a short note on Image resolution and noise equivalent bandwidth. |  |
| c) | Write a short note on image intensifier. |  |
| d) | What is Lithotripsy? |  |
| e) | What are the applications of LASERs in medicine? |  |

***********